## Cable Schedule
Cable ID | From | To | Specification | Cores | Size (mm²) | Length (m) | Installation | Current Rating (A) | Voltage Drop (V) | Voltage Drop (%)
C |  | 1 | 4C x 1.5 sq.mm XLPE/PVC/SWA//PVC | 4 | 1.5 | 50 | tray
C |  | 2 | 3C x 1.5 sq.mm XLPE/PVC/SWA//PVC | 3 | 1.5 | 50 | tray
C |  | 3 | 3C x 1.5 sq.mm XLPE/PVC/SWA//PVC | 3 | 1.5 | 50 | tray
C |  | 4 | 4C x 1.5 sq.mm XLPE/PVC/SWA//PVC | 4 | 1.5 | 50 | tray
C |  | 5 | 4C x 1.5 sq.mm XLPE/PVC/SWA//PVC | 4 | 1.5 | 50 | tray